# 450x - Commercial DucTester System

| Fan Model #: | 400 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Flow Into Back Pressure of: | CFM | litres/sec | m3/s |
| Maximum Flow at 120 or 230 VAC: | 1 in WC (250 Pa) | 306 | 144 | 0.144 |
|  | 4 in WC (1000 Pa) | 302 | 143 | 0.143 |
|  | 8 in WC (2000 Pa) | 295 | 140 | 0.14 |
| Minimum Flow with std Range 18: | 1 in WC (250 Pa) | 7.1 | 12 | 0.00333 |
| Minimum Flow (with opt Range 3): |  | 0.31 | 0..52 | 0.00014 |
| Dimensions: | 14" × 14" × 26" (35 x 35 x 66 cm) |  |  |  |
| Weight of System: | 21 lb (9.5 kg) |  |  |  |
| Flow Accuracy: | +/-5% |  |  |  |
| Power input: | 120 V AC, 15.5 A, 50/60 Hz, 1 phase or 240 V AC, 8.5 A, 50/60 Hz 1 phase |  |  |  |
| Recommended Fan Calibration Interval: | 5 years |  |  |  |
| Digital Gauge Model: | DM32 20 |  |  |  |
| Special Features: | This special DM32 for the DucTester 450 has a 20 in. WC (5000 Pa) sensor. |  |  |  |

1 x DM32 (20A) Digital Gauge Package

- DM32 (20A) WiFi Dual Channel Color Touchscreen Manometer

- USB Cable, 6' (1.8 m)

- Cat5 Cable, 7' (2 m) Blue

- DM32 USB Charging Module (120V/60Hz, 240V/50Hz, or 110V/50Hz)

- Gauge Case

- DM32 Magnetic Clip

- NIST Traceable Calibration

- Gauge Calibration Verification Certificate

1 x 400 Series Fan Set

- 400 Series Fan

- 400 Series Fan Power Cord With Plug Style for your country

- Control Panel for 400 Series Fan

- End Plate 300 - Range 102

- Single Point Verification of Fan

1 x 450 DucTester Set of Range Plugs

- 4" Plug - Range 74

- 4" Plug - Range 47

- 4" Plug - Range 29

- 4" Plug - Range 18

- 4" Plug - Range 11

- 4" Plug - Range 7

- 4" Plug - Range 3

1 x 450 Commercial DucTester Accessory Kit

- DucTester System Case

- 10" to 2.5" reducer

- 12 Ft long (4 m) 4" Flex Duct with 2.5" Collar

- 4" (100 mm.) Duct Connection Flange

- 8" x 8" (200 x 200 mm.) Duct Connecting Plate

1 x Roll of 4" x 180 Feet 9mil Heavy Duty Tape, White

1 x DucTester Tubing Kit

1 x Umbilical for DucTester, 7 ft (2 m)

1 x Multipoint Calibration